## Telemetry
telemetry details
Topic: v1/devices/me/telemetry (JSON) Example: {"ts":1759213200,"pkt":3,"lamp":1,"volt":230,"power":45,"bat":3700,"fault":0,"current":195}
S.no | Value Message keys | Type | Size in Bytes | Description | Possible Values
1 | ts | uint32_t | 4 | Unix timestamp in seconds (UTC, from NTP). The boot packet is sent only after NTP sync. | 0 to 4,294,967,295
2 | pkt | uint8_t | 1 | Packet Type | event_booton = 1, event_trigger = 2 (lamp state / fault changed), event_live = 3 (periodic, every pint sec)
3 | lamp | uint8_t | 1 | Lamp Status | lamp_off = 0, lamp_on = 1, lamp_unknown = 2, lamp_fault = 3
4 | volt | uint32_t | 4 | AC supply voltage, RMS (V) | 0 to 4,294,967,295
5 | power | uint32_t | 4 | Lamp power (W). Values below 5 W are sent as 0. | 0 to 4,294,967,295
6 | bat | uint32_t | 4 | Battery voltage (mV) | 0 to 65,535
7 | fault | uint8_t | 1 | Faults that are active now (bitmask). When a fault clears, its bit goes back to 0. BIT POSITION BIT 0 lampFault BIT 1 batteryLowAlarm | none = 0, lampFault = 1, batteryLowAlarm = 2, both = 3
8 | current | uint32_t | 4 | Lamp current, RMS (mA) | 0 to 4,294,967,295

## Device Logic
device logic (how values are decided)
S.no | Item | Rule | Default
1 | Lamp status | On: volt > minV and power > minW Off: volt < minV and power < minW Fault: volt > minV and power < minW Unknown: any other case | minV = 100 V, minW = 10 W
2 | Lamp fault | Set after 3 fault readings in a row, cleared after 3 On readings in a row | 3 readings
3 | Battery low | Set below 3000 mV, cleared above 3100 mV | 3000 mV / 100 mV hysteresis
4 | Daily limit | At most maxPayload telemetry packets per day (IST). After that, packets are dropped until midnight IST. | 100 (0 = no limit)

## Attributes
attributes details
Topic: v1/devices/me/attributes (device -> server). Sent once, with the boot packet.
S.No | Value Message keys | Type | Size in Bytes | Description | Possible Values
1 | iccid | string | 32 | Sim card ICCID | Max 31 characters, "unknown" if read fails
2 | imsi | string | 24 | Sim card IMSI Number | Max 23 characters, "unknown" if read fails
3 | version | string | 16 | Firmware Version - String Format | string(00.00.00.00), e.g. "77.00.00.00"

## Shared Attributes
shared attributes details
Server -> device. The device asks for these on every connect, via topic v1/devices/me/attributes/request/1.
S.No | Value Message keys | Type | Size in Bytes | Description | Default
1 | minV | uint32_t | 4 | Minimum voltage (V) for lamp ON detection | 100
2 | minW | uint32_t | 4 | Minimum power (W) for lamp ON detection | 10
3 | pint | uint32_t | 4 | Live packet interval (seconds, in 30 s steps) | 3600
4 | maxPayload | uint32_t | 4 | Maximum telemetry packets per day (IST); 0 = no limit | 100
5 | firmwareVersion | string | 16 | If different from the device version, the device starts OTA with file xxxxxxxx.bin (the version with the dots removed) | -

## Changes
changes from the old document
S.No | Change | Old | New
1 | pkt values | live = 0, trigger = 1, power_On = 7, gps = 9 | booton = 1, trigger = 2, live = 3
2 | lamp values | on = 1, off = 2, fault = 3 | off = 0, on = 1, unknown = 2, fault = 3
3 | Renamed keys | lmpState, voltSens, batVolt, UTC, gsmCCID, imsiNumber | lamp, volt, bat, ts, iccid, imsi
4 | Alarms | alarmSet + alarmClear | fault (active faults only; cleared = bit back to 0)
5 | New keys | - | power, current
6 | Removed keys | magA, magB, panelVolt, NuComStatus, rssi, temp, lat, lon, alt, hdop, sat, valid | -
7 | Moved | version in telemetry | version in attributes packet